## Sheet1
Device Name: atlascopco_elektronikon_mk5_zt55vsd_08gen5
Available Template Part number |  | Description
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T26 |  | Modbus RTU to BACnet MS/TP
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T27 |  | Modbus RTU to BACnet/IP
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T1104 |  | Modbus RTU to Allen-Bradley PLC
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T479 |  | Modbus TCP/IP to BACnet/IP
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T480 |  | Modbus TCP/IP to BACnet MS/TP
AtlasCopco_Elektronikon_MK5_ZT55VSD_08Gen5_T1105 |  | Modbus TCP/IP to Allen-Bradley PLC
Point | Point Name
1 | Compressor Outlet Status
2 | Compressor Outlet Value
3 | Dp Air Filter Status
4 | Dp Air Filter Value
5 | Oil Pressure Status
6 | Oil Pressure Value
7 | Intercooler Status
8 | Intercooler Value
9 | Compressor Outlet Status
10 | Compressor Outlet Value
11 | Element 1 Outlet Status
12 | Element 1 Outlet Value
13 | Element 2 Inlet Status
14 | Element 2 Inlet Value
15 | Element 2 Outlet Status
16 | Element 2 Outlet Value
17 | Oil Injection Status
18 | Oil Injection Value
19 | Emergency Stop Status
20 | Emergency Stop Value
21 | Overload Fan Motor Status
22 | Overload Fan Motor Value
23 | Condensate Drain IC Status
24 | Condensate Drain IC Value
25 | Condensate Drain AC Status
26 | Condensate Darin AC Value
27 | Pressure Setting Selection Value
28 | Fan Motor
29 | HP-LP Feedback Value
30 | Blowoff
31 | General Shutdown
32 | Automatic Operation
33 | General Warning
34 | Run Enable Main Motor
35 | Running
36 | Drain
37 | 2nd Blowoff
38 | Anti Condensation Motor
39 | Runing Hours
40 | Loaded Hours
41 | Motor Starts
42 | Load Relay
43 | VSD 1-20PM
44 | VSD 20-40PM
45 | VSD 40-60PM
46 | VSD 60-80PM
47 | VSD 80-100PM
48 | Fan Starts
49 | Accumulated Volume
50 | Module Hours
51 | No Valid Pressure Control
52 | Motor Converter 1 Alarm
53 | Main Motor Speed Required RPM
54 | Main Motor Speed Actual RPM
55 | Machine Mechanical State
56 | Machine Control Mode
57 | ESi Status
58 | Stopped/Running
59 | Unload/Load
60 | General Warning
61 | General ShutdownWarning
62 | General Shutdown
63 | General Service
64 | General StartFailure
65 | Emergency Stop
66 | Manual/Automatic
67 | Local/Remote
68 | Press Set Select PreWarning
69 | Press Set Select Warning
70 | Press Set Select ShutdownWarning
71 | Press Set Select Shutdown
72 | Press Set Select Service
73 | Press Set Select Permissive
74 | Press Set Select Sensor Error
75 | Press Set Select Set/Not set
76 | Press Set Select SPM valid meas
77 | Press Set Select PrePermissive
78 | Expan Mod Comm PreWarning
79 | Expan Mod Comm Warning
80 | Expan Mod Comm Shutdown
81 | Gen Stat PreWarning
82 | Gen Stat General Warning
83 | Gen Stat General ShutdownWarning
84 | Gen Stat General Shutdown
85 | Gen Stat General Service
86 | Gen Stat General Start Failure
87 | Gen Stat Emergency Stop
88 | Gen Stat Manual/Automatic
89 | Gen Stat Local/Remote
90 | Gen Stat Week Timer
91 | GenStat PreWarn Service Run Hour
92 | GenStat PreWarn Service Accum Vo
93 | Gen Stat PreWarn ServiceAnalogIn
94 | Gen Stat PrePermissive
95 | Gen Stat Test Mode
96 | VSD Setpoint Selection
97 | VSD Setpoint 1a
98 | VSD Setpoint 1b
99 | Pressure Band 2 - Load
100 | Pressure Band 2 - Unload
101 | Use ES(i) Pressure Band 1/2
102 | ES(i) Pressure Band 1 - Load
103 | ES(i) Pressure Band 1 - Unload
104 | Commands Value
105 | Commands (Switch 4B/4A)

## Overall (hidden)
Read / Write
None
Read
Write
Read/Write

## Protocol_Selection (hidden)
Protocol 1 Selection | Protocol 2 Selection
Modbus RTU Master (MM) | BACnet/IP Server (BS)
Modbus TCP/IP Client (MC) | BACnet MS/TP Slave (BMS)

## Mapping (hidden)
Manipulation
None
Mult by 10.0
Mult by 100.0
Mult by 1000.0
Mult by 10000.0
Div by 10.0
Div by 100.0
Div by 1000.0
Div by 10000.0
Extract Bit 0
Extract Bit 1
Extract Bit 2
Extract Bit 3
Extract Bit 4
Extract Bit 5
Extract Bit 6
Extract Bit 7
Extract Bit 8
Extract Bit 9
Extract Bit 10
Extract Bit 11
Extract Bit 12
Extract Bit 13
Extract Bit 14
Extract Bit 15
Extract Bit 16
Extract Bit 17
Extract Bit 18
Extract Bit 19
Extract Bit 20
Extract Bit 21
Extract Bit 22
Extract Bit 23
Extract Bit 24
Extract Bit 25
Extract Bit 26
Extract Bit 27
Extract Bit 28
Extract Bit 29
Extract Bit 30
Extract Bit 31
Extract Bit 32
Extract Bit 33
Extract Bit 34
Extract Bit 35
Extract Bit 36
Extract Bit 37
Extract Bit 38
Extract Bit 39
Extract Bit 40
Extract Bit 41
Extract Bit 42
Extract Bit 43
Extract Bit 44
Extract Bit 45
Extract Bit 46
Extract Bit 47
Extract Bit 48
Extract Bit 49
Extract Bit 50
Extract Bit 51
Extract Bit 52
Extract Bit 53
Extract Bit 54
Extract Bit 55
Extract Bit 56
Extract Bit 57
Extract Bit 58
Extract Bit 59
Extract Bit 60
Extract Bit 61
Extract Bit 62
Extract Bit 63

## Modbus_Configuration (hidden)
Modbus Data Types | Modbus Read Data Types | Modbus Write Data Types | Max Address per Request by Data Type
0x Coil Status (Bit) | 0x Coil Status (Bit) | 0x Coil Status (Bit) | 512
1x Input Status (Bit) | 1x Input Status (Bit) | 4x Holding Register (16 Bit Int) | 125
3x Input Register (16 Bit Int) | 3x Input Register (16 Bit Int) | 4x Holding Register (16 Bit Uint) | 125
3x Input Register (16 Bit Uint) | 3x Input Register (16 Bit Uint) | 4x Holding Register (32 Bit Int) | 62
3x Input Register (32 Bit Int) | 3x Input Register (32 Bit Int) | 4x Holding Register (32 Bit Uint) | 31
3x Input Register (32 Bit Uint) | 3x Input Register (32 Bit Uint) | 4x Holding Register (32 Bit Float)
3x Input Register (32 Bit Float) | 3x Input Register (32 Bit Float) | 4x Holding Register (64 Bit Int)
3x Input Register (64 Bit Int) | 3x Input Register (64 Bit Int) | 4x Holding Register (64 Bit Uint)
3x Input Register (64 Bit Uint) | 3x Input Register (64 Bit Uint) | 4x Holding Register (64 Bit Float)
3x Input Register (64 Bit Float) | 3x Input Register (64 Bit Float)
4x Holding Register (16 Bit Int) | 4x Holding Register (16 Bit Int)
4x Holding Register (16 Bit Uint) | 4x Holding Register (16 Bit Uint)
4x Holding Register (32 Bit Int) | 4x Holding Register (32 Bit Int)
4x Holding Register (32 Bit Uint) | 4x Holding Register (32 Bit Uint)
4x Holding Register (32 Bit Float) | 4x Holding Register (32 Bit Float)
4x Holding Register (64 Bit Int) | 4x Holding Register (64 Bit Int)
4x Holding Register (64 Bit Uint) | 4x Holding Register (64 Bit Uint)
4x Holding Register (64 Bit Float) | 4x Holding Register (64 Bit Float)

## BACnet_Configuration (hidden)
BACnet Object Types | BACnet Read Object Types | BACnet Write Object Types | BACnet Units
Analog Input | Analog Input | Analog Output | %/s: (percent-per-second)
Analog Output | Binary Input | Binary Output | %obs/ft: (percent-obscuration-per-foot)
Binary Input | Character String Value | Character String Value | %obs/m: (percent-obscuration-per-meter)
Binary Output |  |  | /h: (per-hour)
Character String Value |  |  | ang: (degrees-angular)
C/h: (degrees-Celsius-per-hour)
C/m: (degrees-Celsius-per-minute)
C: (degrees-Celsius)
F/h: (degrees-Fahrenheit-per-hour)
F/m: (degrees-Fahrenheit-per-minute)
F: (degrees-Fahrenheit)
K/h: (degrees-Kelvin-per-hour)
K/m: (degrees-Kelvin-per-minute)
K: (degrees-Kelvin)
phase: (degrees-phase)
A/m: (amperes-per-meter)
A/m2: (amperes-per-square-meter)
A: (amperes)
Am2: (ampere-square-meters)
bars
BTU/h: (btus-per-hour)
BTU/lb dry: (btus-per-pound-dry-air)
BTU/lb: (btus-per-pound)
btus
cd/m2: (candelas-per-square-meter)
cd: (candelas)
cm H2O: (centimeters-of-water)
cm Hg: (centimeters-of-mercury)
cm: (centimeters)
cm2: (square-centimeters)
currency 1
currency 10
currency 2
currency 3
currency 4
currency 5
currency 6
currency 7
currency 8
currency 9
cycles-per-hour
cycles-per-minute
days
degrees-days-Celsius
degrees-days-Fahrenheit
deltaF: (delta-degrees-Fahrenheit)
deltaK: (delta-degrees-Kelvin)
F: (farads)
ft/min: (feet-per-minute)
ft/s: (feet-per-second)
ft: (feet)
ft2: (square-feet)
ft3/min: (cubic-feet-per-minute)
ft3/s: (cubic-feet-per-second)
ft3: (cubic-feet)
ftcd: (foot-candles)
g/m: (grams-per-minute)
g/s: (grams-per-second)
gal(uk)/min: (imperial-gallons-per-minute)
gal(uk): (imperial-gallons
gal/min: (us-gallons-per-minute)
gal: (us-gallons)
grams-of-water-per-kilogram-dry-air
H: (henrys)
hours
hp: (horsepower)
hPa: (hectopascals)
hundredths-seconds
Hz: (hertz)
in H2O: (inches-of-water)
in Hg: (inches-of-mercury)
in: (inches)
in2: (square-inches)
J/K: (joules-per-degree-Kelvin)
J/kg dry: (joules-per-kilogram-dry-air)
J/kgK: (joules-per-kilogram-degree-Kelvin)
J/s: (joule-seconds)
J: (joules)
kBTU/h: (kilo-btus-per-hour)
kBTU: (kilo-btus)
kg/h: (kilograms-per-hour)
kg/m: (kilograms-per-minute)
kg/m3: (kilograms-per-cubic-meter)
kg/s: (kilograms-per-second)
kg: (kilograms)
kHz: (kilohertz)
kilohms
kJ/K: (kilojoules-per-degree-Kelvin)
kJ/kg dry: (kilojoules-per-kilogram-dry-air)
kJ/kg: (kilojoules-per-kilogram)
kJ: (kilojoules)
km/hr: (kilometers-per-hour)
kPa: (kilopascals)
kV: (kilovolts)
kVA: (kilovolt-amperes)
kVAr: (kilovolt-amperes-reactive)
kW: (kilowatts)
kWh/m2: (kilowatt-hours-per-square-foot)
kWh/m2: (kilowatt-hours-per-square-meter)
kWh: (kilowatt-hours)
l/hr: (liters-per-hour)
l/min: (liters-per-minute)
l/s: (liters-per-second)
l: (liters)
lb/h: (pounds-mass-per-hour)
lb/m: (pounds-mass-per-minute)
lb/s: (pounds-mass-per-second)
lb: (pounds-mass)
lm: (lumens)
lx: (luxes)
m/hr: (meters-per-hour)
m/min: (meters-per-minute)
m/s/s: (meter-per-second-per-second)
m/s: (meters-per-second)
m: (meters)
m2/N: (square-meters-per-Newton)
m2: (square-meters)
m3/hr: (cubic-meters-per-hour)
m3/min: (cubic-meters-per-minute)
m3/s: (cubic-meters-per-second)
m3: (cubic-meters)
mA: (milliamperes)
mbar: (millibars)
MBTU: (mega-btus)
megohms
MHz: (megahertz)
milliohms
milliseconds
minutes
MJ/K: (megajoules-per-degree-Kelvin)
MJ/ft2: (megajoules-per-square-foot)
MJ/kg dry: (megajoules-per-kilogram-dry-air)
MJ/m2: (megajoules-per-square-meter)
MJ: (megajoules)
mm Hg: (millimeters-of-mercury)
mm/min: (millimeters-per-minute)
mm/s: (millimeters-per-second)
mm: (millimeters)
months
mph.: (miles-per-hour)
MV: (megavolts)
mV: (millivolts)
MVA: (megavolt-amperes)
MVAr: (megavolt-amperes-reactive)
MW: (megawatts)
mW: (milliwatts)
MWh: (megawatt-hours)
N/m: (newtons-per-meter)
N: (newton)
Nm: (newton-meters)
no-units
Ns: (newton-seconds)
ohm-meters
ohms
Pa: (pascals)
per: (percent)
percent-relative-humidity
per-minute
per-second
PF: (power-factor)
ppb: (parts-per-billion)
ppm: (parts-per-million)
psi/F: (psi-per-degree-Fahrenheit)
psi: (pounds-force-per-square-inch)
rad/s: (radians-per-second)
rad: (radians)
rpm: (revolutions-per-minute)
S/m: (siemens-per-meter)
S: (siemens)
seconds
t/h: (tons-per-hour)
T: (teslas)
t: (tons)
th: (ton-hours)
thm: (therms)
TR: (tons-refrigeration)
V/°K: (volts-per-degree-Kelvin)
V/m: (volts-per-meter)
V: (volts)
VA: (volt-amperes)
VAr: (volt-amperes-reactive)
W/ft2: (watts-per-square-foot)
W/m/K: (watts-per-meter-per-degree-Kelvin)
W/m2/K: (watts-per-square-meter-degree-kelvin)
W/m2: (watts-per-square-meter)
W: (watts)
Wb: (webers)
weeks
Wh: (watt-hours)
years