## Sheet1
Device Name: caterpillar_alban_bwmc_chp
Available Template Part number |  | Description
Caterpillar_Alban_BWMC_CHP_T504 |  | Modbus RTU to BACnet MS/TP
Caterpillar_Alban_BWMC_CHP_T503 |  | Modbus RTU to BACnet/IP
Caterpillar_Alban_BWMC_CHP_T1122 |  | Modbus RTU to Allen-Bradley PLC
Caterpillar_Alban_BWMC_CHP_T42 |  | Modbus TCP/IP to BACnet/IP
Caterpillar_Alban_BWMC_CHP_T505 |  | Modbus TCP/IP to BACnet MS/TP
Caterpillar_Alban_BWMC_CHP_T1123 |  | Modbus TCP/IP to Allen-Bradley PLC
Point | Point Name
1 | Gen Avg Line- Line AC RMS Volt
2 | Gen Average AC RMS Current
3 | Gen Average AC RMS Frequency
4 | Gen Overall Power Factor
5 | Gen Overall Power Factor Lagging
6 | Gen Total Percent kW
7 | Gen PhaseA Line-Line AC RMS Volt
8 | Gen PhaseB Line Line AC RMS Volt
9 | Gen PhaseC Line-Line AC RMS Volt
10 | Gen PhaseA Line-Neut AC RMS Volt
11 | Gen Phase B AC RMS Current
12 | Gen Phase C AC RMS Current
13 | Gen PhaseA Line-Neut AC RMS Volt
14 | Gen PhaseB Line-Neut AC RMS Volt
15 | Gen PhaseC Line-NeutAC RMS Volt
16 | Gen Total Percent Apparent Power
17 | Gen Total Percent Reactive Power
18 | Gen Avg Line-Neut AC RMS Volt
19 | Gen Front Bearing Temp Data Link
20 | Gen Rear Bearing Temp Data Link
21 | Gen PhaseA Winding Temp DataLink
22 | Gen PhaseB Winding Temp DataLink
23 | Gen PhaseC Winding Temp DataLink
24 | Gen Phase A Power Factor Lagging
25 | Gen Phase B Power Factor Lagging
26 | Gen Phase C Power Factor Lagging
27 | Gen AvgLine-Line AC RMS Volt Per
28 | Gen Average Current Percent
29 | Gen Avg AC RMS Frequency Percent
30 | Engine Oil Temp
31 | Engine Oil Pressure
32 | Engine Coolant Temp
33 | Battery Volt
34 | Engine rpm
35 | Cyldr #1 Exh Port Temp Data Link
36 | Cyldr #2 Exh Port Temp Data Link
37 | Cyldr #3 Exh Port Temp Data Link
38 | Cyldr #4 Exh Port Temp Data Link
39 | Cyldr #5 Exh Port Temp Data Link
40 | Cyldr #6 Exh Port Temp Data Link
41 | Cyldr #7 Exh Port Temp Data Link
42 | Cyldr #8 Exh Port Temp Data Link
43 | Cyldr #9 Exh Port Temp Data Link
44 | Cyldr #10 Exh Port TempData Link
45 | Cyldr #11 Exh Port TempData Link
46 | Cyldr #12 Exh Port TempData Link
47 | Cyldr #13 Exh Port TempData Link
48 | Cyldr #14 Exh Port TempData Link
49 | Cyldr #15 Exh Port TempData Link
50 | Cyldr #16 Exh Port TempData Link
51 | Exh Man #1 (Left) TempData Link
52 | Exh Man #2 (Right) TempData Link
53 | Intake Manifold #1 TempData Link
54 | Intake Manifold #2 TempData Link
55 | Engine Oil Temp from Data Link
56 | Coolant Pressure from Data Link
57 | Boost Pressure from Data Link
58 | OilFilter Diff Pressure DataLink
59 | AirFilter1 DiffPressure DataLink
60 | Engine Control Switch Position
61 | System Event Count
62 | GenExcitation FieldVolt DataLink
63 | GenExcitation FieldCurr DataLink
64 | EngEmerg Immediate Shutdwn Indi
65 | EngTurbo Compress Bypass Act1Pos
66 | Dedicat DigitalIn1 EStop ActStat
67 | Exh Temp
68 | Fuel Valve #1 Position Data Link
69 | Eng Operating State from ADEM
70 | EngOilEng Cool Diff TempDataLink
71 | Gearbox Oil Pressure from I/O
72 | Gearbox Oil Temp from I/O
73 | Gen Circuit BreakerStatus
74 | Gen Frequency withinLimits
75 | Gen Voltage withinLimits
76 | Turbocharger 1 Turbine InletTemp
77 | Turbocharger 1 TurbineOutletTemp
78 | Gen Total Real Power
79 | Gen Total Apparent Power
80 | Gen Total Reactive Power
81 | Engine Operating Hours
82 | Number of Crank Attempts
83 | Number of Successful Starts
84 | Analog Input #1 Data Value
85 | Analog Input #2 Data Value

## Overall (hidden)
Read / Write
None
Read
Write
Read/Write

## Protocol_Selection (hidden)
Protocol 1 Selection | Protocol 2 Selection
Modbus RTU Master (MM) | BACnet/IP Server (BS)
Modbus TCP/IP Client (MC) | BACnet MS/TP Slave (BMS)

## Mapping (hidden)
Manipulation
None
Mult by 10.0
Mult by 100.0
Mult by 1000.0
Mult by 10000.0
Div by 10.0
Div by 100.0
Div by 1000.0
Div by 10000.0
Extract Bit 0
Extract Bit 1
Extract Bit 2
Extract Bit 3
Extract Bit 4
Extract Bit 5
Extract Bit 6
Extract Bit 7
Extract Bit 8
Extract Bit 9
Extract Bit 10
Extract Bit 11
Extract Bit 12
Extract Bit 13
Extract Bit 14
Extract Bit 15
Extract Bit 16
Extract Bit 17
Extract Bit 18
Extract Bit 19
Extract Bit 20
Extract Bit 21
Extract Bit 22
Extract Bit 23
Extract Bit 24
Extract Bit 25
Extract Bit 26
Extract Bit 27
Extract Bit 28
Extract Bit 29
Extract Bit 30
Extract Bit 31
Extract Bit 32
Extract Bit 33
Extract Bit 34
Extract Bit 35
Extract Bit 36
Extract Bit 37
Extract Bit 38
Extract Bit 39
Extract Bit 40
Extract Bit 41
Extract Bit 42
Extract Bit 43
Extract Bit 44
Extract Bit 45
Extract Bit 46
Extract Bit 47
Extract Bit 48
Extract Bit 49
Extract Bit 50
Extract Bit 51
Extract Bit 52
Extract Bit 53
Extract Bit 54
Extract Bit 55
Extract Bit 56
Extract Bit 57
Extract Bit 58
Extract Bit 59
Extract Bit 60
Extract Bit 61
Extract Bit 62
Extract Bit 63

## Modbus_Configuration (hidden)
Modbus Data Types | Modbus Read Data Types | Modbus Write Data Types | Max Address per Request by Data Type
0x Coil Status (Bit) | 0x Coil Status (Bit) | 0x Coil Status (Bit) | 512
1x Input Status (Bit) | 1x Input Status (Bit) | 4x Holding Register (16 Bit Int) | 125
3x Input Register (16 Bit Int) | 3x Input Register (16 Bit Int) | 4x Holding Register (16 Bit Uint) | 125
3x Input Register (16 Bit Uint) | 3x Input Register (16 Bit Uint) | 4x Holding Register (32 Bit Int) | 62
3x Input Register (32 Bit Int) | 3x Input Register (32 Bit Int) | 4x Holding Register (32 Bit Uint) | 31
3x Input Register (32 Bit Uint) | 3x Input Register (32 Bit Uint) | 4x Holding Register (32 Bit Float)
3x Input Register (32 Bit Float) | 3x Input Register (32 Bit Float) | 4x Holding Register (64 Bit Int)
3x Input Register (64 Bit Int) | 3x Input Register (64 Bit Int) | 4x Holding Register (64 Bit Uint)
3x Input Register (64 Bit Uint) | 3x Input Register (64 Bit Uint) | 4x Holding Register (64 Bit Float)
3x Input Register (64 Bit Float) | 3x Input Register (64 Bit Float)
4x Holding Register (16 Bit Int) | 4x Holding Register (16 Bit Int)
4x Holding Register (16 Bit Uint) | 4x Holding Register (16 Bit Uint)
4x Holding Register (32 Bit Int) | 4x Holding Register (32 Bit Int)
4x Holding Register (32 Bit Uint) | 4x Holding Register (32 Bit Uint)
4x Holding Register (32 Bit Float) | 4x Holding Register (32 Bit Float)
4x Holding Register (64 Bit Int) | 4x Holding Register (64 Bit Int)
4x Holding Register (64 Bit Uint) | 4x Holding Register (64 Bit Uint)
4x Holding Register (64 Bit Float) | 4x Holding Register (64 Bit Float)

## BACnet_Configuration (hidden)
BACnet Object Types | BACnet Read Object Types | BACnet Write Object Types | BACnet Units
Analog Input | Analog Input | Analog Output | %/s: (percent-per-second)
Analog Output | Binary Input | Binary Output | %obs/ft: (percent-obscuration-per-foot)
Binary Input | Character String Value | Character String Value | %obs/m: (percent-obscuration-per-meter)
Binary Output |  |  | /h: (per-hour)
Character String Value |  |  | ang: (degrees-angular)
C/h: (degrees-Celsius-per-hour)
C/m: (degrees-Celsius-per-minute)
C: (degrees-Celsius)
F/h: (degrees-Fahrenheit-per-hour)
F/m: (degrees-Fahrenheit-per-minute)
F: (degrees-Fahrenheit)
K/h: (degrees-Kelvin-per-hour)
K/m: (degrees-Kelvin-per-minute)
K: (degrees-Kelvin)
phase: (degrees-phase)
A/m: (amperes-per-meter)
A/m2: (amperes-per-square-meter)
A: (amperes)
Am2: (ampere-square-meters)
bars
BTU/h: (btus-per-hour)
BTU/lb dry: (btus-per-pound-dry-air)
BTU/lb: (btus-per-pound)
btus
cd/m2: (candelas-per-square-meter)
cd: (candelas)
cm H2O: (centimeters-of-water)
cm Hg: (centimeters-of-mercury)
cm: (centimeters)
cm2: (square-centimeters)
currency 1
currency 10
currency 2
currency 3
currency 4
currency 5
currency 6
currency 7
currency 8
currency 9
cycles-per-hour
cycles-per-minute
days
degrees-days-Celsius
degrees-days-Fahrenheit
deltaF: (delta-degrees-Fahrenheit)
deltaK: (delta-degrees-Kelvin)
F: (farads)
ft/min: (feet-per-minute)
ft/s: (feet-per-second)
ft: (feet)
ft2: (square-feet)
ft3/min: (cubic-feet-per-minute)
ft3/s: (cubic-feet-per-second)
ft3: (cubic-feet)
ftcd: (foot-candles)
g/m: (grams-per-minute)
g/s: (grams-per-second)
gal(uk)/min: (imperial-gallons-per-minute)
gal(uk): (imperial-gallons
gal/min: (us-gallons-per-minute)
gal: (us-gallons)
grams-of-water-per-kilogram-dry-air
H: (henrys)
hours
hp: (horsepower)
hPa: (hectopascals)
hundredths-seconds
Hz: (hertz)
in H2O: (inches-of-water)
in Hg: (inches-of-mercury)
in: (inches)
in2: (square-inches)
J/K: (joules-per-degree-Kelvin)
J/kg dry: (joules-per-kilogram-dry-air)
J/kgK: (joules-per-kilogram-degree-Kelvin)
J/s: (joule-seconds)
J: (joules)
kBTU/h: (kilo-btus-per-hour)
kBTU: (kilo-btus)
kg/h: (kilograms-per-hour)
kg/m: (kilograms-per-minute)
kg/m3: (kilograms-per-cubic-meter)
kg/s: (kilograms-per-second)
kg: (kilograms)
kHz: (kilohertz)
kilohms
kJ/K: (kilojoules-per-degree-Kelvin)
kJ/kg dry: (kilojoules-per-kilogram-dry-air)
kJ/kg: (kilojoules-per-kilogram)
kJ: (kilojoules)
km/hr: (kilometers-per-hour)
kPa: (kilopascals)
kV: (kilovolts)
kVA: (kilovolt-amperes)
kVAr: (kilovolt-amperes-reactive)
kW: (kilowatts)
kWh/m2: (kilowatt-hours-per-square-foot)
kWh/m2: (kilowatt-hours-per-square-meter)
kWh: (kilowatt-hours)
l/hr: (liters-per-hour)
l/min: (liters-per-minute)
l/s: (liters-per-second)
l: (liters)
lb/h: (pounds-mass-per-hour)
lb/m: (pounds-mass-per-minute)
lb/s: (pounds-mass-per-second)
lb: (pounds-mass)
lm: (lumens)
lx: (luxes)
m/hr: (meters-per-hour)
m/min: (meters-per-minute)
m/s/s: (meter-per-second-per-second)
m/s: (meters-per-second)
m: (meters)
m2/N: (square-meters-per-Newton)
m2: (square-meters)
m3/hr: (cubic-meters-per-hour)
m3/min: (cubic-meters-per-minute)
m3/s: (cubic-meters-per-second)
m3: (cubic-meters)
mA: (milliamperes)
mbar: (millibars)
MBTU: (mega-btus)
megohms
MHz: (megahertz)
milliohms
milliseconds
minutes
MJ/K: (megajoules-per-degree-Kelvin)
MJ/ft2: (megajoules-per-square-foot)
MJ/kg dry: (megajoules-per-kilogram-dry-air)
MJ/m2: (megajoules-per-square-meter)
MJ: (megajoules)
mm Hg: (millimeters-of-mercury)
mm/min: (millimeters-per-minute)
mm/s: (millimeters-per-second)
mm: (millimeters)
months
mph.: (miles-per-hour)
MV: (megavolts)
mV: (millivolts)
MVA: (megavolt-amperes)
MVAr: (megavolt-amperes-reactive)
MW: (megawatts)
mW: (milliwatts)
MWh: (megawatt-hours)
N/m: (newtons-per-meter)
N: (newton)
Nm: (newton-meters)
no-units
Ns: (newton-seconds)
ohm-meters
ohms
Pa: (pascals)
per: (percent)
percent-relative-humidity
per-minute
per-second
PF: (power-factor)
ppb: (parts-per-billion)
ppm: (parts-per-million)
psi/F: (psi-per-degree-Fahrenheit)
psi: (pounds-force-per-square-inch)
rad/s: (radians-per-second)
rad: (radians)
rpm: (revolutions-per-minute)
S/m: (siemens-per-meter)
S: (siemens)
seconds
t/h: (tons-per-hour)
T: (teslas)
t: (tons)
th: (ton-hours)
thm: (therms)
TR: (tons-refrigeration)
V/°K: (volts-per-degree-Kelvin)
V/m: (volts-per-meter)
V: (volts)
VA: (volt-amperes)
VAr: (volt-amperes-reactive)
W/ft2: (watts-per-square-foot)
W/m/K: (watts-per-meter-per-degree-Kelvin)
W/m2/K: (watts-per-square-meter-degree-kelvin)
W/m2: (watts-per-square-meter)
W: (watts)
Wb: (webers)
weeks
Wh: (watt-hours)
years