## Sheet1
Device Name: ge_enervista f650
Available Template Part number |  | Description
GE_EnerVista F650_T654 |  | Modbus RTU to BACnet MS/TP
GE_EnerVista F650_T652 |  | Modbus RTU to BACnet/IP
GE_EnerVista F650_T1231 |  | Modbus RTU to Allen-Bradley PLC
GE_EnerVista F650_T653 |  | Modbus TCP/IP to BACnet/IP
GE_EnerVista F650_T114 |  | Modbus TCP/IP to BACnet MS/TP
GE_EnerVista F650_T1232 |  | Modbus TCP/IP to Allen-Bradley PLC
Point | Point Name
1 | Phasor la
2 | RMS la
3 | la Real
4 | la lmag
5 | Phasor lb
6 | RMS lb
7 | lb Real
8 | lb lmag
9 | Phasor lc
10 | RMS lc
11 | lc Real
12 | lc lmag
13 | Phasor In
14 | ln Real
15 | ln Imag
16 | Phasor lg
17 | RMS lg
18 | lg Real
19 | lg Imag
20 | Phasor lsg
21 | RMS lsg
22 | lsg Real
23 | lsg Imag
24 | Zero Seq I0
25 | I0 Real
26 | I0 Imag
27 | Positive Seq I1
28 | I1 Real
29 | I1 Imag
30 | Negative Seq I2
31 | I2 Real
32 | I2 Imag
33 | Phasor Vab
34 | Vab Real
35 | Vab Imag
36 | Phasor Vbc
37 | Vbc Real
38 | Vbc Imag
39 | Phasor Vca
40 | Vca Real
41 | Vca Imag
42 | Phasor Van
43 | Van Real
44 | Van Imag
45 | Phasor Vbn
46 | Vbn Real
47 | Vbn Imag
48 | Phasor Vcn
49 | Vcn Real
50 | Vcn Imag
51 | Phase Vn
52 | Vn Real
53 | Vn Imag
54 | Positive Seq V1
55 | V1 Real
56 | V1 Imag
57 | Negative Seq V2
58 | V2 Real
59 | V2 Imag
60 | Zero Seq V0
61 | V0 Real
62 | V0 Imag
63 | Phasor Vx
64 | Vx Real
65 | Vx Imag
66 | Nominal Voltage
67 | Vl Real
68 | VL Imag
69 | VBB Real
70 | VBB Imag
71 | Line Voltage
72 | Bus Voltage
73 | Line Frequency
74 | Bus Frequency
75 | Phase A Apparent Pwr
76 | Phase B Apparent Pwr
77 | Phase C Apparent Pwr
78 | Phase A Real Pwr
79 | Phase B Real Pwr
80 | Phase C Real Pwr
81 | Phase A Reactive Pwr
82 | Phase B Reactive Pwr
83 | Phase C Reactive Pwr
84 | 3 Phase Apparent Pwr
85 | 3 Phase Real Pwr
86 | 3 Phase Reactive Pwr
87 | Phase A Power Factor
88 | Phase B Power Factor
89 | Phase C Power Factor
90 | 3 Phase Power Factor
91 | Phasor la Primary
92 | Phasor lb Primary
93 | Phasor lc Primary
94 | Phasor lg Primary
95 | Phasor lsg Primary
96 | Phasor ln Primary
97 | RMS la Primary
98 | RMS lb Primary
99 | RMS lc Primary
100 | RMS lg Primary
101 | RMS lsg Primary
102 | I0 Primary
103 | I1 Primary
104 | I2 Primary
105 | V0 Primary
106 | V1 Primary
107 | V2 Primary
108 | Vab Primary
109 | Vbc Primary
110 | Vca Primary
111 | Va Primary
112 | Vb Primary
113 | Vc Primary
114 | Ln Primary
115 | Vx Primary
116 | VBB Primary
117 | VL Primary
118 | Phase A RL Pwr
119 | Phase A React Pwr
120 | Phase A Appar Pwr
121 | Phase B RL Pwr
122 | Phase B React Pwr
123 | Phase B Appar Pwr
124 | Phase C RL Pwr
125 | Phase C React Pwr
126 | Phase C Appar Pwr
127 | 3 Phase RL Pwr
128 | 3 Phase React Pwr
129 | 3 Phase Appar Pwr
130 | Phase A PF
131 | Phase B PF
132 | Phase C PF
133 | 3 Phase PF
134 | Line Frequency
135 | Bus Frequency
136 | Positive MWatthour
137 | Negative MWatthour
138 | Positive MVarhour
139 | Negative MVarhour
140 | Pos MWatthout Cnt
141 | Neg MWatthour Cnt
142 | Pos MVarhour Cnt
143 | Neg MVarhour Cnt
144 | Percent of Load to Trip
145 | AI145
146 | AI146
147 | AI147
148 | AI148

## Overall (hidden)
Read / Write
None
Read
Write
Read/Write

## Protocol_Selection (hidden)
Protocol 1 Selection | Protocol 2 Selection
Modbus RTU Master (MM) | BACnet/IP Server (BS)
Modbus TCP/IP Client (MC) | BACnet MS/TP Slave (BMS)

## Mapping (hidden)
Manipulation
None
Mult by 10.0
Mult by 100.0
Mult by 1000.0
Mult by 10000.0
Div by 10.0
Div by 100.0
Div by 1000.0
Div by 10000.0
Extract Bit 0
Extract Bit 1
Extract Bit 2
Extract Bit 3
Extract Bit 4
Extract Bit 5
Extract Bit 6
Extract Bit 7
Extract Bit 8
Extract Bit 9
Extract Bit 10
Extract Bit 11
Extract Bit 12
Extract Bit 13
Extract Bit 14
Extract Bit 15
Extract Bit 16
Extract Bit 17
Extract Bit 18
Extract Bit 19
Extract Bit 20
Extract Bit 21
Extract Bit 22
Extract Bit 23
Extract Bit 24
Extract Bit 25
Extract Bit 26
Extract Bit 27
Extract Bit 28
Extract Bit 29
Extract Bit 30
Extract Bit 31
Extract Bit 32
Extract Bit 33
Extract Bit 34
Extract Bit 35
Extract Bit 36
Extract Bit 37
Extract Bit 38
Extract Bit 39
Extract Bit 40
Extract Bit 41
Extract Bit 42
Extract Bit 43
Extract Bit 44
Extract Bit 45
Extract Bit 46
Extract Bit 47
Extract Bit 48
Extract Bit 49
Extract Bit 50
Extract Bit 51
Extract Bit 52
Extract Bit 53
Extract Bit 54
Extract Bit 55
Extract Bit 56
Extract Bit 57
Extract Bit 58
Extract Bit 59
Extract Bit 60
Extract Bit 61
Extract Bit 62
Extract Bit 63

## Modbus_Configuration (hidden)
Modbus Data Types | Modbus Read Data Types | Modbus Write Data Types | Max Address per Request by Data Type
0x Coil Status (Bit) | 0x Coil Status (Bit) | 0x Coil Status (Bit) | 512
1x Input Status (Bit) | 1x Input Status (Bit) | 4x Holding Register (16 Bit Int) | 125
3x Input Register (16 Bit Int) | 3x Input Register (16 Bit Int) | 4x Holding Register (16 Bit Uint) | 125
3x Input Register (16 Bit Uint) | 3x Input Register (16 Bit Uint) | 4x Holding Register (32 Bit Int) | 62
3x Input Register (32 Bit Int) | 3x Input Register (32 Bit Int) | 4x Holding Register (32 Bit Uint) | 31
3x Input Register (32 Bit Uint) | 3x Input Register (32 Bit Uint) | 4x Holding Register (32 Bit Float)
3x Input Register (32 Bit Float) | 3x Input Register (32 Bit Float) | 4x Holding Register (64 Bit Int)
3x Input Register (64 Bit Int) | 3x Input Register (64 Bit Int) | 4x Holding Register (64 Bit Uint)
3x Input Register (64 Bit Uint) | 3x Input Register (64 Bit Uint) | 4x Holding Register (64 Bit Float)
3x Input Register (64 Bit Float) | 3x Input Register (64 Bit Float)
4x Holding Register (16 Bit Int) | 4x Holding Register (16 Bit Int)
4x Holding Register (16 Bit Uint) | 4x Holding Register (16 Bit Uint)
4x Holding Register (32 Bit Int) | 4x Holding Register (32 Bit Int)
4x Holding Register (32 Bit Uint) | 4x Holding Register (32 Bit Uint)
4x Holding Register (32 Bit Float) | 4x Holding Register (32 Bit Float)
4x Holding Register (64 Bit Int) | 4x Holding Register (64 Bit Int)
4x Holding Register (64 Bit Uint) | 4x Holding Register (64 Bit Uint)
4x Holding Register (64 Bit Float) | 4x Holding Register (64 Bit Float)

## BACnet_Configuration (hidden)
BACnet Object Types | BACnet Read Object Types | BACnet Write Object Types | BACnet Units
Analog Input | Analog Input | Analog Output | %/s: (percent-per-second)
Analog Output | Binary Input | Binary Output | %obs/ft: (percent-obscuration-per-foot)
Binary Input | Character String Value | Character String Value | %obs/m: (percent-obscuration-per-meter)
Binary Output |  |  | /h: (per-hour)
Character String Value |  |  | ang: (degrees-angular)
C/h: (degrees-Celsius-per-hour)
C/m: (degrees-Celsius-per-minute)
C: (degrees-Celsius)
F/h: (degrees-Fahrenheit-per-hour)
F/m: (degrees-Fahrenheit-per-minute)
F: (degrees-Fahrenheit)
K/h: (degrees-Kelvin-per-hour)
K/m: (degrees-Kelvin-per-minute)
K: (degrees-Kelvin)
phase: (degrees-phase)
A/m: (amperes-per-meter)
A/m2: (amperes-per-square-meter)
A: (amperes)
Am2: (ampere-square-meters)
bars
BTU/h: (btus-per-hour)
BTU/lb dry: (btus-per-pound-dry-air)
BTU/lb: (btus-per-pound)
btus
cd/m2: (candelas-per-square-meter)
cd: (candelas)
cm H2O: (centimeters-of-water)
cm Hg: (centimeters-of-mercury)
cm: (centimeters)
cm2: (square-centimeters)
currency 1
currency 10
currency 2
currency 3
currency 4
currency 5
currency 6
currency 7
currency 8
currency 9
cycles-per-hour
cycles-per-minute
days
degrees-days-Celsius
degrees-days-Fahrenheit
deltaF: (delta-degrees-Fahrenheit)
deltaK: (delta-degrees-Kelvin)
F: (farads)
ft/min: (feet-per-minute)
ft/s: (feet-per-second)
ft: (feet)
ft2: (square-feet)
ft3/min: (cubic-feet-per-minute)
ft3/s: (cubic-feet-per-second)
ft3: (cubic-feet)
ftcd: (foot-candles)
g/m: (grams-per-minute)
g/s: (grams-per-second)
gal(uk)/min: (imperial-gallons-per-minute)
gal(uk): (imperial-gallons
gal/min: (us-gallons-per-minute)
gal: (us-gallons)
grams-of-water-per-kilogram-dry-air
H: (henrys)
hours
hp: (horsepower)
hPa: (hectopascals)
hundredths-seconds
Hz: (hertz)
in H2O: (inches-of-water)
in Hg: (inches-of-mercury)
in: (inches)
in2: (square-inches)
J/K: (joules-per-degree-Kelvin)
J/kg dry: (joules-per-kilogram-dry-air)
J/kgK: (joules-per-kilogram-degree-Kelvin)
J/s: (joule-seconds)
J: (joules)
kBTU/h: (kilo-btus-per-hour)
kBTU: (kilo-btus)
kg/h: (kilograms-per-hour)
kg/m: (kilograms-per-minute)
kg/m3: (kilograms-per-cubic-meter)
kg/s: (kilograms-per-second)
kg: (kilograms)
kHz: (kilohertz)
kilohms
kJ/K: (kilojoules-per-degree-Kelvin)
kJ/kg dry: (kilojoules-per-kilogram-dry-air)
kJ/kg: (kilojoules-per-kilogram)
kJ: (kilojoules)
km/hr: (kilometers-per-hour)
kPa: (kilopascals)
kV: (kilovolts)
kVA: (kilovolt-amperes)
kVAr: (kilovolt-amperes-reactive)
kW: (kilowatts)
kWh/m2: (kilowatt-hours-per-square-foot)
kWh/m2: (kilowatt-hours-per-square-meter)
kWh: (kilowatt-hours)
l/hr: (liters-per-hour)
l/min: (liters-per-minute)
l/s: (liters-per-second)
l: (liters)
lb/h: (pounds-mass-per-hour)
lb/m: (pounds-mass-per-minute)
lb/s: (pounds-mass-per-second)
lb: (pounds-mass)
lm: (lumens)
lx: (luxes)
m/hr: (meters-per-hour)
m/min: (meters-per-minute)
m/s/s: (meter-per-second-per-second)
m/s: (meters-per-second)
m: (meters)
m2/N: (square-meters-per-Newton)
m2: (square-meters)
m3/hr: (cubic-meters-per-hour)
m3/min: (cubic-meters-per-minute)
m3/s: (cubic-meters-per-second)
m3: (cubic-meters)
mA: (milliamperes)
mbar: (millibars)
MBTU: (mega-btus)
megohms
MHz: (megahertz)
milliohms
milliseconds
minutes
MJ/K: (megajoules-per-degree-Kelvin)
MJ/ft2: (megajoules-per-square-foot)
MJ/kg dry: (megajoules-per-kilogram-dry-air)
MJ/m2: (megajoules-per-square-meter)
MJ: (megajoules)
mm Hg: (millimeters-of-mercury)
mm/min: (millimeters-per-minute)
mm/s: (millimeters-per-second)
mm: (millimeters)
months
mph.: (miles-per-hour)
MV: (megavolts)
mV: (millivolts)
MVA: (megavolt-amperes)
MVAr: (megavolt-amperes-reactive)
MW: (megawatts)
mW: (milliwatts)
MWh: (megawatt-hours)
N/m: (newtons-per-meter)
N: (newton)
Nm: (newton-meters)
no-units
Ns: (newton-seconds)
ohm-meters
ohms
Pa: (pascals)
per: (percent)
percent-relative-humidity
per-minute
per-second
PF: (power-factor)
ppb: (parts-per-billion)
ppm: (parts-per-million)
psi/F: (psi-per-degree-Fahrenheit)
psi: (pounds-force-per-square-inch)
rad/s: (radians-per-second)
rad: (radians)
rpm: (revolutions-per-minute)
S/m: (siemens-per-meter)
S: (siemens)
seconds
t/h: (tons-per-hour)
T: (teslas)
t: (tons)
th: (ton-hours)
thm: (therms)
TR: (tons-refrigeration)
V/°K: (volts-per-degree-Kelvin)
V/m: (volts-per-meter)
V: (volts)
VA: (volt-amperes)
VAr: (volt-amperes-reactive)
W/ft2: (watts-per-square-foot)
W/m/K: (watts-per-meter-per-degree-Kelvin)
W/m2/K: (watts-per-square-meter-degree-kelvin)
W/m2: (watts-per-square-meter)
W: (watts)
Wb: (webers)
weeks
Wh: (watt-hours)
years