## Sheet1
Device Name: modicon_m221
Available Template Part number |  | Description
Modicon_M221_T282 |  | Modbus RTU to BACnet MS/TP
Modicon_M221_T773 |  | Modbus RTU to BACnet/IP
Modicon_M221_T1325 |  | Modbus RTU to Allen-Bradley PLC
Modicon_M221_T774 |  | Modbus TCP/IP to BACnet/IP
Modicon_M221_T775 |  | Modbus TCP/IP to BACnet MS/TP
Modicon_M221_T1326 |  | Modbus TCP/IP to Allen-Bradley PLC
Point | Point Name
1 | VOLT FASE1 TABLERO TGN SOTANO2
2 | VOLT FASE2 TABLERO TGN SOTANO2
3 | VOLT FASE3 TABLERO TGN SOTANO2
4 | CORRI FASE1 TABLERO TGN SOTAN2
5 | CORRI FASE2 TABLERO TGN SOTANO2
6 | CORRI FASE3 TABLERO TGN SOTANO2
7 | POTEN FASE1 TABLERO TGN SOTANO2
8 | POTEN FASE2 TABLERO TGN SOTANO2
9 | POTEN FASE3 TABLERO TGN SOTANO2
10 | POTEN TOTAL TABLERO TGN SOTANO2
11 | VOLT FASE1 TABLERO TGNF SOTANO2
12 | VOLT FASE2 TABLERO TGNF SOTANO2
13 | VOLT FASE3 TABLERO TGNF SOTANO2
14 | CORRI FASE1 TABLERO TGNF SOTANO2
15 | CORRI FASE2 TABLERO TGNF SOTANO2
16 | CORRI FASE3 TABLERO TGNF SOTANO2
17 | POTEN FASE1 TABLERO TGNF SOTANO2
18 | POTEN FASE2 TABLERO TGNF SOTANO2
19 | POTEN FASE3 TABLERO TGNF SOTANO2
20 | POTEN TOTAL TABLERO TGNF SOTANO2
21 | TENSION SALIDA FASE1 GRUPO ELEC1
22 | TENSION SALIDA FASE2 GRUPO ELEC1
23 | TENSION SALIDA FASE3 GRUPO ELEC1
24 | KW DE SALIDA-GRUPO ELECTROGENO 1
25 | KVA DE SALIDA-GRUPO ELECTROGENO1
26 | FREC CORR SALIDA FASE GRUPOELEC1
27 | TENSION SALIDA FASE1 GRUPO ELEC2
28 | TENSION SALIDA FASE2 GRUPO ELEC2
29 | TENSION SALIDA FASE3 GRUPO ELEC2
30 | KW DE SALIDA GRUPO ELECTROGENO2
31 | KVA DE SALIDA GRUPO ELECTROGENO2
32 | FREC CORRI SALI FASE GRUPO ELEC2
33 | TEMP INTERIOR1 TRANSFORM1
34 | TEMP INTERIOR2 TRANSFORM1
35 | TEMP INTERIOR1 TRANSFORM2
36 | TEMP INTERIOR2 TRANSFORM2
37 | ESTADO CELDA DE LLEGADA
38 | ESTADOINTER IGN1 TAB TGN SOTANO2
39 | ESTADOINTER IGN2 TAB TGN SOTANO2
40 | ESTADOINTER IGN3 TAB TGN SOTANO2
41 | ESTADOINTER IGN4 TAB TGN SOTANO2
42 | ESTADOINTER IGF1 TABTGNF SOTANO2
43 | ESTADOINTER IGF2 TABTGNF SOTANO2
44 | ESTADO INTER IG TABTGE SOTANO2
45 | ESTADOINTER IGE1TAB TGE SOTANO2
46 | ESTADOINTER IGE2TAB TGE SOTANO2
47 | ESTADOINTER IGE3TAB TGE SOTANO2
48 | ESTADOINTER IGES1TAB TGESSOTANO2
49 | ESTADOINTER IGES2TAB TGESSOTANO2
50 | ESTADOINTER1 TAB TTA3CTO BOMBAS
51 | ESTADOINTER2 TAB TTA3CTO BOMBAS
52 | ESTADOINTER1 TAB TTA4 SOTANO1
53 | ESTADOINTER2 TAB TTA4 SOTANO1
54 | ESTADOINTER1 TAB TTA5 SOTANO1
55 | ESTADOINTER2 TAB TTA5 SOTANO1
56 | ESTADOINTER1 TAB TTA1 SOTANO2
57 | ESTADOINTER2 TAB TTA1 SOTANO2
58 | GRUPO MARCHA GRUPO ELEC1
59 | BAJONIVEL CONBUSTANQUE GRPOELEC1
60 | ALARMA SOBREVELOCIDADGRUPO ELEC1
61 | BAJA PRESION ACEITEGRUPO ELEC1
62 | ALTA TEMPERATURA AGUAGRUPO ELEC1
63 | FALLASISTEMA PRECALENT GRUPELEC1
64 | FALLAARRANQUE GRUPO ELEC1
65 | FALLACARGADOR ESTATICOGRUP ELEC1
66 | BAJA PRESION ACEITE GRUPO ELEC1
67 | FALLAGENERACIONGRUPO ELEC1
68 | BAJONIVELCONBUST TANQUEGRP ELEC2
69 | ALARMA SOBREVELOCIGRUPO ELEC2
70 | BAJA PRESION ACEITE GRUPO ELEC2
71 | ALTA TEMPER AGUAGRUPO ELEC2
72 | FALLASISTEMA PRECALENT GRP ELEC2
73 | FALLA ARRANQUEGRUPO ELEC2
74 | FALLACARGADOR ESTATICO GRP ELEC2
75 | GRUPOFUERA AUTOMATI GRUPO ELEC2
76 | FALLA DE GENERACION GRUPO ELEC2

## Overall (hidden)
Read / Write
None
Read
Write
Read/Write

## Protocol_Selection (hidden)
Protocol 1 Selection | Protocol 2 Selection
Modbus RTU Master (MM) | BACnet/IP Server (BS)
Modbus TCP/IP Client (MC) | BACnet MS/TP Slave (BMS)

## Mapping (hidden)
Manipulation
None
Mult by 10.0
Mult by 100.0
Mult by 1000.0
Mult by 10000.0
Div by 10.0
Div by 100.0
Div by 1000.0
Div by 10000.0
Extract Bit 0
Extract Bit 1
Extract Bit 2
Extract Bit 3
Extract Bit 4
Extract Bit 5
Extract Bit 6
Extract Bit 7
Extract Bit 8
Extract Bit 9
Extract Bit 10
Extract Bit 11
Extract Bit 12
Extract Bit 13
Extract Bit 14
Extract Bit 15
Extract Bit 16
Extract Bit 17
Extract Bit 18
Extract Bit 19
Extract Bit 20
Extract Bit 21
Extract Bit 22
Extract Bit 23
Extract Bit 24
Extract Bit 25
Extract Bit 26
Extract Bit 27
Extract Bit 28
Extract Bit 29
Extract Bit 30
Extract Bit 31
Extract Bit 32
Extract Bit 33
Extract Bit 34
Extract Bit 35
Extract Bit 36
Extract Bit 37
Extract Bit 38
Extract Bit 39
Extract Bit 40
Extract Bit 41
Extract Bit 42
Extract Bit 43
Extract Bit 44
Extract Bit 45
Extract Bit 46
Extract Bit 47
Extract Bit 48
Extract Bit 49
Extract Bit 50
Extract Bit 51
Extract Bit 52
Extract Bit 53
Extract Bit 54
Extract Bit 55
Extract Bit 56
Extract Bit 57
Extract Bit 58
Extract Bit 59
Extract Bit 60
Extract Bit 61
Extract Bit 62
Extract Bit 63

## Modbus_Configuration (hidden)
Modbus Data Types | Modbus Read Data Types | Modbus Write Data Types | Max Address per Request by Data Type
0x Coil Status (Bit) | 0x Coil Status (Bit) | 0x Coil Status (Bit) | 512
1x Input Status (Bit) | 1x Input Status (Bit) | 4x Holding Register (16 Bit Int) | 125
3x Input Register (16 Bit Int) | 3x Input Register (16 Bit Int) | 4x Holding Register (16 Bit Uint) | 125
3x Input Register (16 Bit Uint) | 3x Input Register (16 Bit Uint) | 4x Holding Register (32 Bit Int) | 62
3x Input Register (32 Bit Int) | 3x Input Register (32 Bit Int) | 4x Holding Register (32 Bit Uint) | 31
3x Input Register (32 Bit Uint) | 3x Input Register (32 Bit Uint) | 4x Holding Register (32 Bit Float)
3x Input Register (32 Bit Float) | 3x Input Register (32 Bit Float) | 4x Holding Register (64 Bit Int)
3x Input Register (64 Bit Int) | 3x Input Register (64 Bit Int) | 4x Holding Register (64 Bit Uint)
3x Input Register (64 Bit Uint) | 3x Input Register (64 Bit Uint) | 4x Holding Register (64 Bit Float)
3x Input Register (64 Bit Float) | 3x Input Register (64 Bit Float)
4x Holding Register (16 Bit Int) | 4x Holding Register (16 Bit Int)
4x Holding Register (16 Bit Uint) | 4x Holding Register (16 Bit Uint)
4x Holding Register (32 Bit Int) | 4x Holding Register (32 Bit Int)
4x Holding Register (32 Bit Uint) | 4x Holding Register (32 Bit Uint)
4x Holding Register (32 Bit Float) | 4x Holding Register (32 Bit Float)
4x Holding Register (64 Bit Int) | 4x Holding Register (64 Bit Int)
4x Holding Register (64 Bit Uint) | 4x Holding Register (64 Bit Uint)
4x Holding Register (64 Bit Float) | 4x Holding Register (64 Bit Float)

## BACnet_Configuration (hidden)
BACnet Object Types | BACnet Read Object Types | BACnet Write Object Types | BACnet Units
Analog Input | Analog Input | Analog Output | %/s: (percent-per-second)
Analog Output | Binary Input | Binary Output | %obs/ft: (percent-obscuration-per-foot)
Binary Input | Character String Value | Character String Value | %obs/m: (percent-obscuration-per-meter)
Binary Output |  |  | /h: (per-hour)
Character String Value |  |  | ang: (degrees-angular)
C/h: (degrees-Celsius-per-hour)
C/m: (degrees-Celsius-per-minute)
C: (degrees-Celsius)
F/h: (degrees-Fahrenheit-per-hour)
F/m: (degrees-Fahrenheit-per-minute)
F: (degrees-Fahrenheit)
K/h: (degrees-Kelvin-per-hour)
K/m: (degrees-Kelvin-per-minute)
K: (degrees-Kelvin)
phase: (degrees-phase)
A/m: (amperes-per-meter)
A/m2: (amperes-per-square-meter)
A: (amperes)
Am2: (ampere-square-meters)
bars
BTU/h: (btus-per-hour)
BTU/lb dry: (btus-per-pound-dry-air)
BTU/lb: (btus-per-pound)
btus
cd/m2: (candelas-per-square-meter)
cd: (candelas)
cm H2O: (centimeters-of-water)
cm Hg: (centimeters-of-mercury)
cm: (centimeters)
cm2: (square-centimeters)
currency 1
currency 10
currency 2
currency 3
currency 4
currency 5
currency 6
currency 7
currency 8
currency 9
cycles-per-hour
cycles-per-minute
days
degrees-days-Celsius
degrees-days-Fahrenheit
deltaF: (delta-degrees-Fahrenheit)
deltaK: (delta-degrees-Kelvin)
F: (farads)
ft/min: (feet-per-minute)
ft/s: (feet-per-second)
ft: (feet)
ft2: (square-feet)
ft3/min: (cubic-feet-per-minute)
ft3/s: (cubic-feet-per-second)
ft3: (cubic-feet)
ftcd: (foot-candles)
g/m: (grams-per-minute)
g/s: (grams-per-second)
gal(uk)/min: (imperial-gallons-per-minute)
gal(uk): (imperial-gallons
gal/min: (us-gallons-per-minute)
gal: (us-gallons)
grams-of-water-per-kilogram-dry-air
H: (henrys)
hours
hp: (horsepower)
hPa: (hectopascals)
hundredths-seconds
Hz: (hertz)
in H2O: (inches-of-water)
in Hg: (inches-of-mercury)
in: (inches)
in2: (square-inches)
J/K: (joules-per-degree-Kelvin)
J/kg dry: (joules-per-kilogram-dry-air)
J/kgK: (joules-per-kilogram-degree-Kelvin)
J/s: (joule-seconds)
J: (joules)
kBTU/h: (kilo-btus-per-hour)
kBTU: (kilo-btus)
kg/h: (kilograms-per-hour)
kg/m: (kilograms-per-minute)
kg/m3: (kilograms-per-cubic-meter)
kg/s: (kilograms-per-second)
kg: (kilograms)
kHz: (kilohertz)
kilohms
kJ/K: (kilojoules-per-degree-Kelvin)
kJ/kg dry: (kilojoules-per-kilogram-dry-air)
kJ/kg: (kilojoules-per-kilogram)
kJ: (kilojoules)
km/hr: (kilometers-per-hour)
kPa: (kilopascals)
kV: (kilovolts)
kVA: (kilovolt-amperes)
kVAr: (kilovolt-amperes-reactive)
kW: (kilowatts)
kWh/m2: (kilowatt-hours-per-square-foot)
kWh/m2: (kilowatt-hours-per-square-meter)
kWh: (kilowatt-hours)
l/hr: (liters-per-hour)
l/min: (liters-per-minute)
l/s: (liters-per-second)
l: (liters)
lb/h: (pounds-mass-per-hour)
lb/m: (pounds-mass-per-minute)
lb/s: (pounds-mass-per-second)
lb: (pounds-mass)
lm: (lumens)
lx: (luxes)
m/hr: (meters-per-hour)
m/min: (meters-per-minute)
m/s/s: (meter-per-second-per-second)
m/s: (meters-per-second)
m: (meters)
m2/N: (square-meters-per-Newton)
m2: (square-meters)
m3/hr: (cubic-meters-per-hour)
m3/min: (cubic-meters-per-minute)
m3/s: (cubic-meters-per-second)
m3: (cubic-meters)
mA: (milliamperes)
mbar: (millibars)
MBTU: (mega-btus)
megohms
MHz: (megahertz)
milliohms
milliseconds
minutes
MJ/K: (megajoules-per-degree-Kelvin)
MJ/ft2: (megajoules-per-square-foot)
MJ/kg dry: (megajoules-per-kilogram-dry-air)
MJ/m2: (megajoules-per-square-meter)
MJ: (megajoules)
mm Hg: (millimeters-of-mercury)
mm/min: (millimeters-per-minute)
mm/s: (millimeters-per-second)
mm: (millimeters)
months
mph.: (miles-per-hour)
MV: (megavolts)
mV: (millivolts)
MVA: (megavolt-amperes)
MVAr: (megavolt-amperes-reactive)
MW: (megawatts)
mW: (milliwatts)
MWh: (megawatt-hours)
N/m: (newtons-per-meter)
N: (newton)
Nm: (newton-meters)
no-units
Ns: (newton-seconds)
ohm-meters
ohms
Pa: (pascals)
per: (percent)
percent-relative-humidity
per-minute
per-second
PF: (power-factor)
ppb: (parts-per-billion)
ppm: (parts-per-million)
psi/F: (psi-per-degree-Fahrenheit)
psi: (pounds-force-per-square-inch)
rad/s: (radians-per-second)
rad: (radians)
rpm: (revolutions-per-minute)
S/m: (siemens-per-meter)
S: (siemens)
seconds
t/h: (tons-per-hour)
T: (teslas)
t: (tons)
th: (ton-hours)
thm: (therms)
TR: (tons-refrigeration)
V/°K: (volts-per-degree-Kelvin)
V/m: (volts-per-meter)
V: (volts)
VA: (volt-amperes)
VAr: (volt-amperes-reactive)
W/ft2: (watts-per-square-foot)
W/m/K: (watts-per-meter-per-degree-Kelvin)
W/m2/K: (watts-per-square-meter-degree-kelvin)
W/m2: (watts-per-square-meter)
W: (watts)
Wb: (webers)
weeks
Wh: (watt-hours)
years