## Sheet1
Device Name: schneider_acrc30x
Available Template Part number |  | Description
Schneider_ACRC30x_T829 |  | Modbus RTU to BACnet MS/TP
Schneider_ACRC30x_T202 |  | Modbus RTU to BACnet/IP
Schneider_ACRC30x_T1363 |  | Modbus RTU to Allen-Bradley PLC
Schneider_ACRC30x_T828 |  | Modbus TCP/IP to BACnet/IP
Schneider_ACRC30x_T830 |  | Modbus TCP/IP to BACnet MS/TP
Schneider_ACRC30x_T1364 |  | Modbus TCP/IP to Allen-Bradley PLC
Point | Point Name
1 | OVERALL_STATUS
2 | GROUP_COOL_OUTPUT
3 | GROUP_COOL_DEMAND
4 | COOL_SETPOINT
5 | SUPPLY_AIR_SETPOINT
6 | GROUP_AIR_FLOW
7 | GROUP_MAX_RACK_TEMP
8 | GROUP_MIN_RACK_TEMP
9 | AIRFLOW_CONTROL
10 | NUMBER_OF_UNITS
11 | CONFIGURATION_TYPE
12 | COOL_PID_P
13 | COOL_PID_I
14 | COOL_PID_D
15 | PERCENT_GLYCOL
16 | MAX_FAN_SPEED
17 | ALTITUDE
18 | NUMBER_ACTIVE_FLOW_CONTROLLERS
19 | ACTIVE_FLOW_CONTROL_BIAS
20 | ACTIVE_FLOW_CONTROL_STATUS
21 | ACTIVE_FLOW_CONTROL_LAMP_TEST
22 | DELTA_T_SETPOINT
23 | OPERATE_MODE
24 | UNIT_COOL_OUTPUT
25 | UNIT_COOL_DEMAND
26 | UNIT_MAX_RACK_INLET_TEMP
27 | SUPPLY_AIR_TEMP
28 | RETURN_AIR_TEMP
29 | UNIT_AIR_FLOW
30 | FAN_SPEED
31 | ACTIVE_POWER_SOURCE
32 | FILTER_DIFFERENTIAL_PRESSURE
33 | CHILLED_WATER_VALVE_POSITION
34 | CHILLED_WATER_FLOW
35 | CHILLED_WATER_TEMP_IN
36 | CHILLED_WATER_TEMP_OUT
37 | AIR_FILTER_RUNHOUR
38 | FAN_1_RUNHOUR
39 | FAN_2_RUNHOUR
40 | FAN_3_RUNHOUR
41 | FAN_4_RUNHOUR
42 | FAN_5_RUNHOUR
43 | FAN_6_RUNHOUR
44 | FAN_7_RUNHOUR
45 | FAN_8_RUNHOUR
46 | FAN_PSU_1_RUNHOUR
47 | FAN_PSU_2_RUNHOUR
48 | CONDENSATE_PUMP_RUNHOUR
49 | AIR_FILTER_SERVICE_INTERVAL
50 | AIR_FILTER_SERVICE_INTERVAL_ALAR
51 | RACK_TEMP_HIGH_THRESH
52 | SUPPLY_AIR_TEMP_HIGH_THRESH
53 | RETURN_AIR_TEMP_HIGH_THRESH
54 | ENTERING_CHILLED_WATER_TEMP_HIGH
55 | STARTUP_DELAY
56 | CHILLED_WATER_VALVE_CONTROL
57 | IDLE_ON_LEAK
58 | STANDBY_INPUT_NORMAL_STATE
59 | STANDBY_INPUT_STATE
60 | OUTPUT_STATE_1
61 | POWER_SOURCE
62 | IDLE_ON_COOL_FAIL
63 | OUTPUT_STATE_1
64 | OUTPUT_STATE_2
65 | OUTPUT_STATE_3
66 | OUTPUT_STATE_4
67 | MAXIMUM_CHILLED_WATER_FLOW
68 | BYPASS_VALUE_POSITION
69 | UNIT_SERVICE_INTERVAL
70 | UNIT_SERVICE_INTERVAL_ALARM
71 | DEW_POINT_TEMP
72 | COIL_CHILLED_WATER_TEMP
73 | UNIT_POWER
74 | UNIT_ENERGY
75 | UNIT_RUNHOUR
76 | CIRCULATION_PUMP_RUNHOUR
77 | NUMBER_OF_RACK_INLET_TEMPERATURE
78 | NUMBER_OF_LEAK_DETECTORS
79 | AIR_FILTER_TYPE
80 | INTERNAL_COMM_ERROR
81 | RESERVED_385
82 | COOL_FUNCTION_UNAVAILABLE
83 | HIGH_RACK_TEMP
84 | AIR_FILTER_CLOGGED
85 | LOWER_RETURN_AIR_SENSOR_ERROR
86 | UPPER_RETURN_AIR_SENSOR_ERROR
87 | LOWER_SUPPLY_AIR_SENSOR_ERROR
88 | UPPER_SUPPLY_AIR_SENSOR_ERROR
89 | RACK_TEMP_SENSOR_1_ERROR
90 | CHILLED_WATER_VALVE_ACTUATOR_ERR
91 | FAN_1_ERROR
92 | FAN_2_ERROR
93 | FAN_3_ERROR
94 | FAN_4_ERROR
95 | FAN_5_ERROR
96 | FAN_6_ERROR
97 | FAN_7_ERROR
98 | FAN_8_ERROR
99 | WATER_DETECTED
100 | CHECK_CONDS_MGMT_SYSTEM
101 | CHILLED_WATER_FLOWMETER_ERROR
102 | ENTERING_CHILLED_WATER_HIGH_TEMP
103 | ENTERING_CHILLED_WATER_TEMP_SENS
104 | LEAVING_CHILLED_WATER_TEMP_SENSO
105 | CONDENSATE_PAN_FULL
106 | PRIMARY_POWER_SOURCE_UNAVAILABLE
107 | SECONDARY_POWER_SOURCE_UNAVAILAB
108 | FAN_POWER_SUPPLY_1_ERROR
109 | FAN_POWER_SUPPLY_2_ERROR
110 | AIR_FILTER_RUNHOUR_VIOLATION
111 | RESERVED_415
112 | STANDBY_DUE_TO_INPUT_CONTACT
113 | UNEXPECTED_NUMBER_OF_UNITS_IN_GR
114 | SUPPLY_HIGH_TEMPERATURE
115 | RETURN_HIGH_TEMPERATURE
116 | DP_FILTER_SENSOR_ERROR
117 | RESERVED
118 | CHILLED_WATER_VALVE_NOT_SET_TO_A
119 | IDLE_DUE_TO_LEAK_DETECTED
120 | RESERVED_424
121 | RESERVED_425
122 | RESERVED_426
123 | RESERVED_427
124 | RESERVED_428
125 | ECOAISLE_DOOR_OPEN
126 | UNEXPECTED_NUMBER_OF_ACTIVE_FLOW
127 | INSUFFICIENT_AIRFLOW
128 | ACTIVE_FLOW_CONTROLLER_SENSOR_ER
129 | RACK_TEMP_SENSOR_2_ERROR
130 | RACK_TEMP_SENSOR_3_ERROR
131 | RACK_TEMP_SENSOR_4_ERROR
132 | UNIT_SERVICE_REQUIRED
133 | HUMIDITY_SENSOR_ERROR
134 | COIL_CONDENSATION_POSSIBLE
135 | CONTROLLER_POWER_SUPPLY_1_ERROR
136 | CONTROLLER_POWER_SUPPLY_2_ERROR
137 | COIL_CHILLED_WATER_TEMP_SENSOR_E
138 | FAN_POWER_SUPPLY_1_CURRENT_SENSO
139 | FAN_POWER_SUPPLY_2_CURRENT_SENSO
140 | FACTORY_CONFIGURATION_NOT_COMPLE
141 | UNIT_IN_MAINTENANCE_MODE
142 | UNEXPECTED_NUMBER_OF_RACK_INLET_
143 | UNEXPECTED_NUMBER_OF_LEAK_SENSOR
144 | OUTPUT_RELAY_1_ABNORMAL
145 | OUTPUT_RELAY_2_ABNORMAL
146 | OUTPUT_RELAY_3_ABNORMAL
147 | OUTPUT_RELAY_4_ABNORMAL
148 | CIRCULATION_PUMP_ERROR
149 | COOL_SETPOINT
150 | SUPPLY_AIR_SETPOINT
151 | AIRFLOW_CONTROL
152 | NUMBER_OF_UNITS
153 | MAX_FAN_SPEED
154 | ALTITUDE
155 | NUMBER_ACTIVE_FLOW_CONTROLLERS
156 | ACTIVE_FLOW_CONTROL_LAMP_TEST
157 | DELTA_T_SETPOINT
158 | AIR_FILTER_SERVICE_INTERVAL
159 | AIR_FILTER_SERVICE_INTERVAL_ALAR
160 | RACK_TEMP_HIGH_THRESH
161 | SUPPLY_AIR_TEMP_HIGH_THRESH
162 | RETURN_AIR_TEMP_HIGH_THRESH
163 | ENTERING_CHILLED_WATER_TEMP_HIGH
164 | STARTUP_DELAY
165 | IDLE_ON_LEAK
166 | STANDBY_INPUT_NORMAL_STATE
167 | POWER_SOURCE
168 | IDLE_ON_COOL_FAIL
169 | BYPASS_VALUE_POSITION
170 | NUMBER_OF_RACK_INLET_TEMPERATURE
171 | NUMBER_OF_LEAK_DETECTORS
172 | AIR_FILTER_TYPE

## Overall (hidden)
Read / Write
None
Read
Write
Read/Write

## Protocol_Selection (hidden)
Protocol 1 Selection | Protocol 2 Selection
Modbus RTU Master (MM) | BACnet/IP Server (BS)
Modbus TCP/IP Client (MC) | BACnet MS/TP Slave (BMS)

## Mapping (hidden)
Manipulation
None
Mult by 10.0
Mult by 100.0
Mult by 1000.0
Mult by 10000.0
Div by 10.0
Div by 100.0
Div by 1000.0
Div by 10000.0
Extract Bit 0
Extract Bit 1
Extract Bit 2
Extract Bit 3
Extract Bit 4
Extract Bit 5
Extract Bit 6
Extract Bit 7
Extract Bit 8
Extract Bit 9
Extract Bit 10
Extract Bit 11
Extract Bit 12
Extract Bit 13
Extract Bit 14
Extract Bit 15
Extract Bit 16
Extract Bit 17
Extract Bit 18
Extract Bit 19
Extract Bit 20
Extract Bit 21
Extract Bit 22
Extract Bit 23
Extract Bit 24
Extract Bit 25
Extract Bit 26
Extract Bit 27
Extract Bit 28
Extract Bit 29
Extract Bit 30
Extract Bit 31
Extract Bit 32
Extract Bit 33
Extract Bit 34
Extract Bit 35
Extract Bit 36
Extract Bit 37
Extract Bit 38
Extract Bit 39
Extract Bit 40
Extract Bit 41
Extract Bit 42
Extract Bit 43
Extract Bit 44
Extract Bit 45
Extract Bit 46
Extract Bit 47
Extract Bit 48
Extract Bit 49
Extract Bit 50
Extract Bit 51
Extract Bit 52
Extract Bit 53
Extract Bit 54
Extract Bit 55
Extract Bit 56
Extract Bit 57
Extract Bit 58
Extract Bit 59
Extract Bit 60
Extract Bit 61
Extract Bit 62
Extract Bit 63

## Modbus_Configuration (hidden)
Modbus Data Types | Modbus Read Data Types | Modbus Write Data Types | Max Address per Request by Data Type
0x Coil Status (Bit) | 0x Coil Status (Bit) | 0x Coil Status (Bit) | 512
1x Input Status (Bit) | 1x Input Status (Bit) | 4x Holding Register (16 Bit Int) | 125
3x Input Register (16 Bit Int) | 3x Input Register (16 Bit Int) | 4x Holding Register (16 Bit Uint) | 125
3x Input Register (16 Bit Uint) | 3x Input Register (16 Bit Uint) | 4x Holding Register (32 Bit Int) | 62
3x Input Register (32 Bit Int) | 3x Input Register (32 Bit Int) | 4x Holding Register (32 Bit Uint) | 31
3x Input Register (32 Bit Uint) | 3x Input Register (32 Bit Uint) | 4x Holding Register (32 Bit Float)
3x Input Register (32 Bit Float) | 3x Input Register (32 Bit Float) | 4x Holding Register (64 Bit Int)
3x Input Register (64 Bit Int) | 3x Input Register (64 Bit Int) | 4x Holding Register (64 Bit Uint)
3x Input Register (64 Bit Uint) | 3x Input Register (64 Bit Uint) | 4x Holding Register (64 Bit Float)
3x Input Register (64 Bit Float) | 3x Input Register (64 Bit Float)
4x Holding Register (16 Bit Int) | 4x Holding Register (16 Bit Int)
4x Holding Register (16 Bit Uint) | 4x Holding Register (16 Bit Uint)
4x Holding Register (32 Bit Int) | 4x Holding Register (32 Bit Int)
4x Holding Register (32 Bit Uint) | 4x Holding Register (32 Bit Uint)
4x Holding Register (32 Bit Float) | 4x Holding Register (32 Bit Float)
4x Holding Register (64 Bit Int) | 4x Holding Register (64 Bit Int)
4x Holding Register (64 Bit Uint) | 4x Holding Register (64 Bit Uint)
4x Holding Register (64 Bit Float) | 4x Holding Register (64 Bit Float)

## BACnet_Configuration (hidden)
BACnet Object Types | BACnet Read Object Types | BACnet Write Object Types | BACnet Units
Analog Input | Analog Input | Analog Output | %/s: (percent-per-second)
Analog Output | Binary Input | Binary Output | %obs/ft: (percent-obscuration-per-foot)
Binary Input | Character String Value | Character String Value | %obs/m: (percent-obscuration-per-meter)
Binary Output |  |  | /h: (per-hour)
Character String Value |  |  | ang: (degrees-angular)
C/h: (degrees-Celsius-per-hour)
C/m: (degrees-Celsius-per-minute)
C: (degrees-Celsius)
F/h: (degrees-Fahrenheit-per-hour)
F/m: (degrees-Fahrenheit-per-minute)
F: (degrees-Fahrenheit)
K/h: (degrees-Kelvin-per-hour)
K/m: (degrees-Kelvin-per-minute)
K: (degrees-Kelvin)
phase: (degrees-phase)
A/m: (amperes-per-meter)
A/m2: (amperes-per-square-meter)
A: (amperes)
Am2: (ampere-square-meters)
bars
BTU/h: (btus-per-hour)
BTU/lb dry: (btus-per-pound-dry-air)
BTU/lb: (btus-per-pound)
btus
cd/m2: (candelas-per-square-meter)
cd: (candelas)
cm H2O: (centimeters-of-water)
cm Hg: (centimeters-of-mercury)
cm: (centimeters)
cm2: (square-centimeters)
currency 1
currency 10
currency 2
currency 3
currency 4
currency 5
currency 6
currency 7
currency 8
currency 9
cycles-per-hour
cycles-per-minute
days
degrees-days-Celsius
degrees-days-Fahrenheit
deltaF: (delta-degrees-Fahrenheit)
deltaK: (delta-degrees-Kelvin)
F: (farads)
ft/min: (feet-per-minute)
ft/s: (feet-per-second)
ft: (feet)
ft2: (square-feet)
ft3/min: (cubic-feet-per-minute)
ft3/s: (cubic-feet-per-second)
ft3: (cubic-feet)
ftcd: (foot-candles)
g/m: (grams-per-minute)
g/s: (grams-per-second)
gal(uk)/min: (imperial-gallons-per-minute)
gal(uk): (imperial-gallons
gal/min: (us-gallons-per-minute)
gal: (us-gallons)
grams-of-water-per-kilogram-dry-air
H: (henrys)
hours
hp: (horsepower)
hPa: (hectopascals)
hundredths-seconds
Hz: (hertz)
in H2O: (inches-of-water)
in Hg: (inches-of-mercury)
in: (inches)
in2: (square-inches)
J/K: (joules-per-degree-Kelvin)
J/kg dry: (joules-per-kilogram-dry-air)
J/kgK: (joules-per-kilogram-degree-Kelvin)
J/s: (joule-seconds)
J: (joules)
kBTU/h: (kilo-btus-per-hour)
kBTU: (kilo-btus)
kg/h: (kilograms-per-hour)
kg/m: (kilograms-per-minute)
kg/m3: (kilograms-per-cubic-meter)
kg/s: (kilograms-per-second)
kg: (kilograms)
kHz: (kilohertz)
kilohms
kJ/K: (kilojoules-per-degree-Kelvin)
kJ/kg dry: (kilojoules-per-kilogram-dry-air)
kJ/kg: (kilojoules-per-kilogram)
kJ: (kilojoules)
km/hr: (kilometers-per-hour)
kPa: (kilopascals)
kV: (kilovolts)
kVA: (kilovolt-amperes)
kVAr: (kilovolt-amperes-reactive)
kW: (kilowatts)
kWh/m2: (kilowatt-hours-per-square-foot)
kWh/m2: (kilowatt-hours-per-square-meter)
kWh: (kilowatt-hours)
l/hr: (liters-per-hour)
l/min: (liters-per-minute)
l/s: (liters-per-second)
l: (liters)
lb/h: (pounds-mass-per-hour)
lb/m: (pounds-mass-per-minute)
lb/s: (pounds-mass-per-second)
lb: (pounds-mass)
lm: (lumens)
lx: (luxes)
m/hr: (meters-per-hour)
m/min: (meters-per-minute)
m/s/s: (meter-per-second-per-second)
m/s: (meters-per-second)
m: (meters)
m2/N: (square-meters-per-Newton)
m2: (square-meters)
m3/hr: (cubic-meters-per-hour)
m3/min: (cubic-meters-per-minute)
m3/s: (cubic-meters-per-second)
m3: (cubic-meters)
mA: (milliamperes)
mbar: (millibars)
MBTU: (mega-btus)
megohms
MHz: (megahertz)
milliohms
milliseconds
minutes
MJ/K: (megajoules-per-degree-Kelvin)
MJ/ft2: (megajoules-per-square-foot)
MJ/kg dry: (megajoules-per-kilogram-dry-air)
MJ/m2: (megajoules-per-square-meter)
MJ: (megajoules)
mm Hg: (millimeters-of-mercury)
mm/min: (millimeters-per-minute)
mm/s: (millimeters-per-second)
mm: (millimeters)
months
mph.: (miles-per-hour)
MV: (megavolts)
mV: (millivolts)
MVA: (megavolt-amperes)
MVAr: (megavolt-amperes-reactive)
MW: (megawatts)
mW: (milliwatts)
MWh: (megawatt-hours)
N/m: (newtons-per-meter)
N: (newton)
Nm: (newton-meters)
no-units
Ns: (newton-seconds)
ohm-meters
ohms
Pa: (pascals)
per: (percent)
percent-relative-humidity
per-minute
per-second
PF: (power-factor)
ppb: (parts-per-billion)
ppm: (parts-per-million)
psi/F: (psi-per-degree-Fahrenheit)
psi: (pounds-force-per-square-inch)
rad/s: (radians-per-second)
rad: (radians)
rpm: (revolutions-per-minute)
S/m: (siemens-per-meter)
S: (siemens)
seconds
t/h: (tons-per-hour)
T: (teslas)
t: (tons)
th: (ton-hours)
thm: (therms)
TR: (tons-refrigeration)
V/°K: (volts-per-degree-Kelvin)
V/m: (volts-per-meter)
V: (volts)
VA: (volt-amperes)
VAr: (volt-amperes-reactive)
W/ft2: (watts-per-square-foot)
W/m/K: (watts-per-meter-per-degree-Kelvin)
W/m2/K: (watts-per-square-meter-degree-kelvin)
W/m2: (watts-per-square-meter)
W: (watts)
Wb: (webers)
weeks
Wh: (watt-hours)
years